## Project Info
Project Information
Project name | Carr EFA Dressing Room Renovation
Project number | 26-007
Location | San Angelo, Texas
Owner | Angelo State University
Contractor / GC | SSC Services for Education
Bid due | 2026-06-05T14:00:00
Source PDFs | 26-007 RFCSP Carr EFA Dressing Room Renovation (1).pdf, 26-007 RFCSP Carr EFA Dressing Room Renovation (2).pdf, 26-007 RFCSP Carr EFA Dressing Room Renovation.pdf, ESBD_516718_1778880767322_26-007 Carr EFA Dressing Room Renocation RFCSP.pdf, ESBD_516718_1778880829538_26-007 Carr EFA Dressing Room Renocation Attachment A.pdf, ESBD_516718_1779308778671_26-007 Carr EFA Dressing Room Addendum #1.pdf, ESBD_516718_1778880767322_26-007 Carr EFA Dressing Room Renocation RFCSP.pdf, ESBD_516718_1778880829538_26-007 Carr EFA Dressing Room Renocation Attachment A.pdf

## Summary
Project | Carr EFA Dressing Room Renovation
Region multiplier | 1.05
Subtotal | 51789.15
Contingency (10.0%) | 5178.91
Overhead (10.0%) | 5696.81
Profit (5.0%) | 3133.24
GRAND TOTAL | 65798.11
Auto-Approve Total | 43331.4
Operator-Review Total | 8457.75
Hand-Takeoff Total (informational, not in grand total) | 21956.71
Grand Total (Auto-Only) | 55052.54
Grand Total (Auto + Review) | 65798.11
Lines Needing Manual Takeoff: 66
Lines Needing Operator Review: 4
By CSI division
Div | Title | Subtotal
08 | Openings | 42732.9
26 | Electrical | 9056.25
Prepass coverage | 0% pages prepass-only / 100% pages LLM-augmented (0 of 49)
By cost category
Category | Subtotal | % of subtotal
Material | 42732.9 | 82.51
Subcontractor | 9056.25 | 17.49
Cost Source Tier Breakdown
Tier | Line Count | Total $ | % of Subtotal
Exact Match | 23 | 73745.86 | 142.4
Category Match | 0 | 0 | 0
Interpolated | 0 | 0 | 0
Parametric | 0 | 0 | 0
Manual Override | 0 | 0 | 0
Missing | 49 | 0 | 0
Total: 72 lines | 72 | 73745.86

## Line Items
Div | CSI Section | Category | Description | Raw Qty | Waste | Quantity | Unit | Unit Cost | Total | Band | Suppressed | Confidence | Price Confidence | Cost Source Tier | Combined Confidence | Source Sheets | Cost Source | CWICR Similarity | Cost-DB Key | Notes
Division 06 - Wood, Plastics, and Composites
06 | 06 20 00 | other | Plastic laminate, type 1 | 1 | 1 | 1 | LS | 0 | 0 | HAND |  | 0.9 | 0 | Missing | 0 | A-901 | no match |  | (no match) | Used in various casework details. ¦ Unit cost not found - add to cost_database.json
06 | 06 10 00 | labor | 2x6 deck boards | 0 | 1.1 | 0 | SF | 9.19 | 0 | HAND |  | 0.3 | 0.95 | Exact Match | 0.285 | A1 | seed |  | 06 10 00 | Exact quantity not specified.
06 | 06 10 00 | labor | 4x4 posts for handrails | 10 | 1.1 | 11 | EA | 0 | 0 | HAND | YES | 0.5 | 0 | Missing | 0 | A1 | seed |  | 06 10 00 | Estimated from context. ¦ unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 | 06 10 00 | labor | 2x12 beams | 50 | 1.1 | 55 | LF | 0 | 0 | HAND | YES | 0.5 | 0 | Missing | 0 | A1 | seed |  | 06 10 00 | Estimated from context. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 | 06 10 00 | labor | 2x8 joists | 100 | 1.1 | 110 | LF | 0 | 0 | HAND | YES | 0.5 | 0 | Missing | 0 | A1 | seed |  | 06 10 00 | Estimated from context. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 | 06 10 00 | labor | 2x6 deck boards | 200 | 1.1 | 220 | LF | 0 | 0 | HAND | YES | 0.5 | 0 | Missing | 0 | A1 | seed |  | 06 10 00 | Estimated from context. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 | 06 10 00 | labor | Blocking, continuous | 1 | 1.1 | 1.1 | LS | 0 | 0 | HAND | YES | 0.9 | 0 | Missing | 0 | A-901 | seed |  | 06 10 00 | Referenced in multiple sections. ¦ unit mismatch: takeoff=LS, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 | 06 10 00 | labor | 4x4 posts for handrails | 0 | 1.1 | 0 | LF | 0 | 0 | HAND | YES | 0.3 | 0 | Missing | 0 | A1 | seed |  | 06 10 00 | Exact quantity not specified. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 | 06 10 00 | labor | 10x10 piling | 0 | 1.1 | 0 | EA | 0 | 0 | HAND | YES | 0.3 | 0 | Missing | 0 | A1 | seed |  | 06 10 00 | Exact quantity not specified. ¦ unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
Division 08 - Openings
08 | 08 11 13 | material | Door count | 42 | 1.02 | 42.84 | EA | 997.5 | 42732.9 | AUTO |  | 0.9 | 0.95 | Exact Match | 0.855 | X-2, A-501, TA-11, X-3 | seed |  | 08 11 13 | Directly read from drawing.
08 | 08 50 00 | material | Window count or area | 0 | 1.02 | 0 | EA | 719.25 | 0 | HAND |  | 0 | 0.95 | Exact Match | 0 | A-501, TA-11 | seed |  | 08 50 00 | Window types and counts are not clearly legible.
08 | 08 10 00 | other | Door 15 — 15 | 1 | 1 | 1 | EA | 0 | 0 | HAND |  | 0.92 | 0 | Missing | 0 | X-3 | no match |  | (no match) | source=door_schedule_prepass; mark=15; type=15 ¦ Unit cost not found - add to cost_database.json
08 | 08 10 00 | other | Door 10 — 10 | 1 | 1 | 1 | EA | 0 | 0 | HAND |  | 0.92 | 0 | Missing | 0 | X-3 | no match |  | (no match) | source=door_schedule_prepass; mark=10; type=10 ¦ Unit cost not found - add to cost_database.json
08 | 08 10 00 | other | Door 5 — 5 | 1 | 1 | 1 | EA | 0 | 0 | HAND |  | 0.92 | 0 | Missing | 0 | X-3 | no match |  | (no match) | source=door_schedule_prepass; mark=5; type=5 ¦ Unit cost not found - add to cost_database.json
08 | 08 71 00 | material | Door hardware sets | 2 | 1.02 | 2.04 | EA | 0 | 0 | HAND | YES | 0.8733 | 0 | Missing | 0 | X-2, X-3 | cwicr | 0.8733 | cwicr:748356 | unit mismatch: takeoff=EA, cwicr=100 EA; cost suppressed from total — the CWICR best match is metric / differently-keyed. Add a conversion factor or override unit_cost manually to include this line.
Division 09 - Finishes
09 | 09 29 00 | subcontractor | Drywall area both sides | 2256 | 1.12 | 2526.72 | SF | 2.99 | 7561.21 | HAND |  | 0.55 | 0.95 | Exact Match | 0.5225 | X-2, TA-11, X-3 | seed |  | 09 29 00 | Estimated from drawing scale.
09 | 09 30 00 | other | Installation of 2” x 2” mosaic floor tile in shower areas | 1 | 1 | 1 | LS | 0 | 0 | HAND |  | 0.7 | 0 | Missing | 0 | ACP-1 | no match |  | (no match) | Tile Type 4 specified for shower areas. ¦ Unit cost not found - add to cost_database.json
09 | 09 29 00 | subcontractor | Total drywall area both sides | 0 | 1.12 | 0 | SF | 2.99 | 0 | HAND |  | 0 | 0.95 | Exact Match | 0 | A-501, X-2 | seed |  | 09 29 00 | Drywall areas are not clearly legible.
09 | 09 65 19 | subcontractor | Floor finish areas | 0 | 1.07 | 0 | SF | 6.72 | 0 | HAND |  | 0 | 0.95 | Exact Match | 0 | A-501, TA-11 | seed |  | 09 65 19 | Floor finish areas are not clearly legible.
09 | 09 51 13 | subcontractor | Ceiling areas by material | 0 | 1.07 | 0 | SF | 5.35 | 0 | HAND |  | 0 | 0.95 | Exact Match | 0 | A-501 | seed |  | 09 51 13 | Ceiling areas are not clearly legible.
09 | 09 51 13 | subcontractor | Acoustical ceiling system, type 1 | 0 | 1.07 | 0 | SF | 5.35 | 0 | HAND |  | 0.5 | 0.95 | Exact Match | 0.475 | TA-4 | seed |  | 09 51 13 | Ceiling finish noted as ACP1 in multiple rooms.
09 | 09 70 00 | other | Wall 2 – Room 2 | 11.32 | 1 | 11.32 | SF | 0 | 0 | HAND |  | 0.65 | 0 | Missing | 0 | TA-4 | no match |  | (no match) | source=finish_schedule_prepass; room=2; surface=wall_ALL; code=2; perimeter approximated from area (sqrt fallback); backfill=ok ¦ Unit cost not found - add to cost_database.json
09 | 09 70 00 | other | Wall 1 – Room 1 | 4 | 1 | 4 | SF | 0 | 0 | HAND |  | 0.65 | 0 | Missing | 0 | TA-4 | no match |  | (no match) | source=finish_schedule_prepass; room=1; surface=wall_ALL; code=1; perimeter approximated from area (sqrt fallback); backfill=ok ¦ Unit cost not found - add to cost_database.json
09 | 09 70 00 | other | Wall 2 – Room 2 | 11.32 | 1 | 11.32 | SF | 0 | 0 | HAND |  | 0.65 | 0 | Missing | 0 | TA-4 | no match |  | (no match) | source=finish_schedule_prepass; room=2; surface=wall_ALL; code=2; perimeter approximated from area (sqrt fallback); backfill=ok ¦ Unit cost not found - add to cost_database.json
09 | 09 70 00 | other | Wall 1 – Room 1 | 4 | 1 | 4 | SF | 0 | 0 | HAND |  | 0.65 | 0 | Missing | 0 | TA-4 | no match |  | (no match) | source=finish_schedule_prepass; room=1; surface=wall_ALL; code=1; perimeter approximated from area (sqrt fallback); backfill=ok ¦ Unit cost not found - add to cost_database.json
09 | 09 22 16 | subcontractor | Interior partition length | 228 | 1.08 | 246.24 | LF | 0 | 0 | HAND | YES | 0.72 | 0 | Missing | 0 | X-2, TA-11, X-3 | seed |  | 09 22 16 | Estimated from drawing scale. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
09 | 09 22 16 | subcontractor | Total interior partition length | 0 | 1.08 | 0 | LF | 0 | 0 | HAND | YES | 0 | 0 | Missing | 0 | A-501, X-2 | seed |  | 09 22 16 | Partition lengths are not clearly legible. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
09 | 09 91 23 | subcontractor | Painted wall area | 0 | 1.1 | 0 | SF | 0 | 0 | HAND | YES | 0.809 | 0 | Missing | 0 | A-501, TA-11 | cwicr | 0.809 | cwicr:756150 | Painted wall areas are not clearly legible. ¦ unit mismatch: takeoff=SF, cwicr=100 SF; cost suppressed from total — the CWICR best match is metric / differently-keyed. Add a conversion factor or override unit_cost manually to include this line.
09 | 09 51 13 | subcontractor | Handrail installation | 1 | 1.07 | 1.07 | LS | 0 | 0 | HAND | YES | 0.9 | 0 | Missing | 0 | A1 | seed |  | 09 51 13 | Installation as per instructions. ¦ unit mismatch: takeoff=LS, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
09 | 09 51 13 | subcontractor | Ceiling areas | 0 | 1.1 | 0 | SF | 0 | 0 | HAND | YES | 0.7597 | 0 | Missing | 0 | TA-11 | cwicr | 0.7597 | cwicr:136819 | Ceiling areas not clearly visible. ¦ unit mismatch: takeoff=SF, cwicr=100 SF; cost suppressed from total — the CWICR best match is metric / differently-keyed. Add a conversion factor or override unit_cost manually to include this line.
Division 10 - Specialties
10 | 10 56 17 | other | Steel shelf support bracket | 1 | 1 | 1 | EA | 0 | 0 | HAND |  | 0.9 | 0 | Missing | 0 | A-901 | no match |  | (no match) | Used in shelving details. ¦ Unit cost not found - add to cost_database.json
10 | 10 56 17 | other | Solid wood shelf | 1 | 1 | 1 | EA | 0 | 0 | HAND |  | 0.9 | 0 | Missing | 0 | A-901 | no match |  | (no match) | Used in shelving details. ¦ Unit cost not found - add to cost_database.json
Division 12 - Furnishings
12 | 12 36 00 | other | Solid surfacing countertop | 1 | 1 | 1 | LS | 0 | 0 | HAND |  | 0.9 | 0 | Missing | 0 | A-901 | no match |  | (no match) | Countertop detail. ¦ Unit cost not found - add to cost_database.json
Division 21 - Fire Suppression
21 | 21 30 00 | other | Fire pump controller | 1 | 1 | 1 | EA | 0 | 0 | HAND |  | 1 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p4 | no match |  | (no match) | Electric AFFF jockey pump controller ¦ Unit cost not found - add to cost_database.json
21 | 21 30 00 | other | Fire pump installation | 1 | 1 | 1 | EA | 0 | 0 | HAND |  | 0.8 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p8 | no match |  | (no match) | Includes pump and associated control panel. ¦ Unit cost not found - add to cost_database.json
21 | 21 30 00 | other | Fire pump system | 1 | 1 | 1 | EA | 0 | 0 | HAND |  | 0.8 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p17 | no match |  | (no match) | Includes pump, piping, and electrical connections. ¦ Unit cost not found - add to cost_database.json
21 | 21 13 00 | subcontractor | Fire pump controller | 1 | 1 | 1 | EA | 0 | 0 | HAND | YES | 0.8 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p4 | seed |  | 21 13 00 | Electric AFFF jockey pump controller ¦ unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
21 | 21 13 00 | subcontractor | Fire suppression piping | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.7 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p8 | seed |  | 21 13 00 | Visible red piping for fire suppression. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
Division 26 - Electrical
26 | 26 24 16 | subcontractor | Panel DP-DT — Panelboard | 1 | 1 | 1 | EA | 2520 | 2520 | HAND |  | 0.65 | 0.95 | Exact Match | 0.6175 | XX-1 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP-DT; role=enclosure
26 | 26 24 16 | subcontractor | Panel DP — Panelboard | 1 | 1 | 1 | EA | 2520 | 2520 | HAND |  | 0.65 | 0.95 | Exact Match | 0.6175 | XX-1 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP; role=enclosure
26 | 26 24 16 | subcontractor | Panel DP-E — Panelboard 277V 1-phase | 1 | 1 | 1 | EA | 2520 | 2520 | REVIEW |  | 0.83 | 0.95 | Exact Match | 0.7885 | A-501 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP-E; role=enclosure; voltage=277V; phase_count=1
26 | 26 24 16 | subcontractor | Panel PANEL-TO — Panelboard | 1 | 1 | 1 | EA | 2520 | 2520 | HAND |  | 0.65 | 0.95 | Exact Match | 0.6175 | A-501 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=PANEL-TO; role=enclosure
26 | 26 24 16 | subcontractor | Panel DP-E — Panelboard 120/208V 3-phase | 1 | 1 | 1 | EA | 2520 | 2520 | REVIEW |  | 0.83 | 0.95 | Exact Match | 0.7885 | E-600 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP-E; role=enclosure; voltage=120/208V; phase_count=3
26 | 26 24 16 | subcontractor | Panel DP-E — Panelboard 277V 1-phase | 1 | 1 | 1 | EA | 2520 | 2520 | REVIEW |  | 0.83 | 0.95 | Exact Match | 0.7885 | A-501 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP-E; role=enclosure; voltage=277V; phase_count=1
26 | 26 24 16 | subcontractor | Panel PANEL-TO — Panelboard | 1 | 1 | 1 | EA | 2520 | 2520 | HAND |  | 0.65 | 0.95 | Exact Match | 0.6175 | A-501 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=PANEL-TO; role=enclosure
26 | 26 51 00 | subcontractor | Emergency light fixtures in corridor | 3 | 1 | 3 | EA | 299.25 | 897.75 | REVIEW |  | 0.8 | 0.95 | Exact Match | 0.76 | D-2 | seed |  | 26 51 00 | Added in corridor as per addendum.
26 | 26 51 13 | subcontractor | Fixture A — NEL, SELECTABLE LUMNES AND CCT. ADD EL14W FOR EMERGENCY. (COOPER 24ARS-L3C3-UNV (LOW, 4000K)) UNV | 1 | 1 | 1 | EA | 719.25 | 719.25 | HAND |  | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | seed |  | 26 51 13 | source=lighting_schedule_prepass; mark=A; role=fixture; manufacturer=COOPER; catalog=24ARS-L3C3-UNV (LOW, 4000K); voltage=UNV; lamp_type=LED; emergency=true
26 | 26 51 13 | subcontractor | Fixture B — IRROR LIGHTING. PROVIDE GUARDS FOR LAMPS. LAMPS PROVIDED BY OTHERS. (TIMES SQUARE LIGHTING 07M-XX-120-XX-1-XX-07MRS) UNV | 1 | 1 | 1 | EA | 719.25 | 719.25 | HAND |  | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | seed |  | 26 51 13 | source=lighting_schedule_prepass; mark=B; role=fixture; manufacturer=TIMES SQUARE LIGHTING; catalog=07M-XX-120-XX-1-XX-07MRS; voltage=UNV; lamp_type=LED
26 | 26 51 13 | subcontractor | Fixture D1 — SEMI-SPECULAR 80 CRI. ADD ELR FOR EMERGENCY. (LITHONIA LBR8 ALO1 (500LM) SWW1 (4000K) AR LSS WD 80CRI) UNV | 1 | 1 | 1 | EA | 719.25 | 719.25 | HAND |  | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | seed |  | 26 51 13 | source=lighting_schedule_prepass; mark=D1; role=fixture; manufacturer=LITHONIA; catalog=LBR8 ALO1 (500LM) SWW1 (4000K) AR LSS WD 80CRI; voltage=UNV; lamp_type=LED; emergency=true
26 | 26 51 13 | subcontractor | Fixture D2 — SEMI-SPECULAR 80 CRI. ADD ELR FOR EMERGENCY. (LITHONIA LBR8 ALO1 (1000LM) SWW1 (4000K) AR LSS WD 80CRI) UNV | 1 | 1 | 1 | EA | 719.25 | 719.25 | HAND |  | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | seed |  | 26 51 13 | source=lighting_schedule_prepass; mark=D2; role=fixture; manufacturer=LITHONIA; catalog=LBR8 ALO1 (1000LM) SWW1 (4000K) AR LSS WD 80CRI; voltage=UNV; lamp_type=LED; emergency=true
26 | 26 51 13 | subcontractor | Fixture S — STANDARD WHITE 12D, CLEAR LENS. (LEDRA BRANDS NU8-RD-SW-10LM-30K-80-12D-CL-XX-XX-UNV) UNV | 1 | 1 | 1 | EA | 719.25 | 719.25 | HAND |  | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | seed |  | 26 51 13 | source=lighting_schedule_prepass; mark=S; role=fixture; manufacturer=LEDRA BRANDS; catalog=NU8-RD-SW-10LM-30K-80-12D-CL-XX-XX-UNV; voltage=UNV; lamp_type=LED
26 | 26 51 13 | subcontractor | Fixture X — Interior Lighting Fixture (LITHONIA LQM S W 3 RG MVOLT EL) UNV | 1 | 1 | 1 | EA | 719.25 | 719.25 | HAND |  | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | seed |  | 26 51 13 | source=lighting_schedule_prepass; mark=X; role=fixture; manufacturer=LITHONIA; catalog=LQM S W 3 RG MVOLT EL; voltage=UNV; lamp_type=LED
26 | 260000 | subcontractor | Added vanity light fixtures in rooms 110 and 109 | 2 | 1 | 2 | EA | 299.25 | 598.5 | AUTO |  | 0.9 | 0.95 | Exact Match | 0.855 | ESBD_516718_1778880917415_26-007 Carr EFA Dressing Room Renovation Drawings Addendum 1.pdf#p3 | seed |  | 26 51 00
26 | 26 51 00 | subcontractor | Salvage and reuse of 2’ x 4’ light fixtures | 1 | 1 | 1 | LS | 0 | 0 | HAND | YES | 0.8 | 0 | Missing | 0 | ACP-1 | seed |  | 26 51 00 | Light fixtures to be reused in the Makeup Room space. ¦ unit mismatch: takeoff=LS, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 51 00 | subcontractor | Emergency light fixtures | 3 | 1 | 3 | EA | 0 | 0 | HAND | YES | 0.7544 | 0 | Missing | 0 | D-2 | cwicr | 0.7544 | cwicr:779200 | Added in corridor as per addendum. ¦ unit mismatch: takeoff=EA, cwicr=100 EA; cost suppressed from total — the CWICR best match is metric / differently-keyed. Add a conversion factor or override unit_cost manually to include this line.
26 | 260000 | subcontractor | Added receptacle for TV in room 108 | 1 | 1 | 1 | EA | 0 | 0 | HAND | YES | 0.9 | 0 | Missing | 0 | ESBD_516718_1778880917415_26-007 Carr EFA Dressing Room Renovation Drawings Addendum 1.pdf#p3 | seed |  | 26 05 00 | unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 260000 | subcontractor | Changed 2x4 fixtures light switch to dimmer light switch in room 108 | 1 | 1 | 1 | EA | 0 | 0 | HAND | YES | 0.8 | 0 | Missing | 0 | ESBD_516718_1778880917415_26-007 Carr EFA Dressing Room Renovation Drawings Addendum 1.pdf#p3 | seed |  | 26 05 00 | unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 19 | subcontractor | Panel DP-DT — Feeder conductor | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | XX-1 | seed |  | 26 05 19 | source=panel_schedule_prepass; mark=DP-DT; role=feeder_wire ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 33 | subcontractor | Panel DP-DT — Feeder conduit | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | XX-1 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP-DT; role=feeder_conduit ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 19 | subcontractor | Panel DP — Feeder conductor | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | XX-1 | seed |  | 26 05 19 | source=panel_schedule_prepass; mark=DP; role=feeder_wire ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 33 | subcontractor | Panel DP — Feeder conduit | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | XX-1 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP; role=feeder_conduit ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 19 | subcontractor | Panel DP-E — Feeder conductor | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | A-501 | seed |  | 26 05 19 | source=panel_schedule_prepass; mark=DP-E; role=feeder_wire; voltage=277V; phase_count=1 ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 33 | subcontractor | Panel DP-E — Feeder conduit 3/4 inch | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | A-501 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP-E; role=feeder_conduit; voltage=277V; phase_count=1; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 19 | subcontractor | Panel PANEL-TO — Feeder conductor | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | A-501 | seed |  | 26 05 19 | source=panel_schedule_prepass; mark=PANEL-TO; role=feeder_wire ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 33 | subcontractor | Panel PANEL-TO — Feeder conduit 3/4 inch | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | A-501 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=PANEL-TO; role=feeder_conduit; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 19 | subcontractor | Panel DP-E — Feeder conductor | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | E-600 | seed |  | 26 05 19 | source=panel_schedule_prepass; mark=DP-E; role=feeder_wire; voltage=120/208V; phase_count=3 ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 33 | subcontractor | Panel DP-E — Feeder conduit 3/4 inch | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | E-600 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP-E; role=feeder_conduit; voltage=120/208V; phase_count=3; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 19 | subcontractor | Panel DP-E — Feeder conductor | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | A-501 | seed |  | 26 05 19 | source=panel_schedule_prepass; mark=DP-E; role=feeder_wire; voltage=277V; phase_count=1 ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 33 | subcontractor | Panel DP-E — Feeder conduit 3/4 inch | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | A-501 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=DP-E; role=feeder_conduit; voltage=277V; phase_count=1; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 19 | subcontractor | Panel PANEL-TO — Feeder conductor | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | A-501 | seed |  | 26 05 19 | source=panel_schedule_prepass; mark=PANEL-TO; role=feeder_wire ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 | 26 05 33 | subcontractor | Panel PANEL-TO — Feeder conduit 3/4 inch | 50 | 1 | 50 | LF | 0 | 0 | HAND | YES | 0.55 | 0 | Missing | 0 | A-501 | seed |  | 26 24 16 | source=panel_schedule_prepass; mark=PANEL-TO; role=feeder_conduit; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
Division 27 - Communications
27 | 270000 | other | Added LCD for Makeup Room | 1 | 1 | 1 | EA | 0 | 0 | HAND |  | 0.9 | 0 | Missing | 0 | ESBD_516718_1778880917415_26-007 Carr EFA Dressing Room Renovation Drawings Addendum 1.pdf#p3 | no match |  | (no match) | Unit cost not found - add to cost_database.json

## Operator Review Queue
CSI Code | Description | Qty | Unit | Unit Cost | Total Cost | Confidence | Price Confidence | Cost Source Tier | Combined Confidence | Source | Notes
26 24 16 | Panel DP-E — Panelboard 277V 1-phase | 1 | EA | 2520 | 2520 | 0.83 | 0.95 | Exact Match | 0.7885 | A-501 | source=panel_schedule_prepass; mark=DP-E; role=enclosure; voltage=277V; phase_count=1
26 24 16 | Panel DP-E — Panelboard 120/208V 3-phase | 1 | EA | 2520 | 2520 | 0.83 | 0.95 | Exact Match | 0.7885 | E-600 | source=panel_schedule_prepass; mark=DP-E; role=enclosure; voltage=120/208V; phase_count=3
26 24 16 | Panel DP-E — Panelboard 277V 1-phase | 1 | EA | 2520 | 2520 | 0.83 | 0.95 | Exact Match | 0.7885 | A-501 | source=panel_schedule_prepass; mark=DP-E; role=enclosure; voltage=277V; phase_count=1
26 51 00 | Emergency light fixtures in corridor | 3 | EA | 299.25 | 897.75 | 0.8 | 0.95 | Exact Match | 0.76 | D-2 | Added in corridor as per addendum.

## Hand Takeoff Queue
CSI Code | Description | Qty | Unit | Unit Cost | Total Cost | Confidence | Price Confidence | Cost Source Tier | Combined Confidence | Source | Notes
06 20 00 | Plastic laminate, type 1 | 1 | LS | 0 | 0 | 0.9 | 0 | Missing | 0 | A-901 | Used in various casework details. ¦ Unit cost not found - add to cost_database.json
06 10 00 | 2x6 deck boards | 0 | SF | 9.19 | 0 | 0.3 | 0.95 | Exact Match | 0.285 | A1 | Exact quantity not specified.
06 10 00 | 4x4 posts for handrails | 11 | EA | 0 | 0 | 0.5 | 0 | Missing | 0 | A1 | Estimated from context. ¦ unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 10 00 | 2x12 beams | 55 | LF | 0 | 0 | 0.5 | 0 | Missing | 0 | A1 | Estimated from context. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 10 00 | 2x8 joists | 110 | LF | 0 | 0 | 0.5 | 0 | Missing | 0 | A1 | Estimated from context. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 10 00 | 2x6 deck boards | 220 | LF | 0 | 0 | 0.5 | 0 | Missing | 0 | A1 | Estimated from context. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 10 00 | Blocking, continuous | 1.1 | LS | 0 | 0 | 0.9 | 0 | Missing | 0 | A-901 | Referenced in multiple sections. ¦ unit mismatch: takeoff=LS, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 10 00 | 4x4 posts for handrails | 0 | LF | 0 | 0 | 0.3 | 0 | Missing | 0 | A1 | Exact quantity not specified. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
06 10 00 | 10x10 piling | 0 | EA | 0 | 0 | 0.3 | 0 | Missing | 0 | A1 | Exact quantity not specified. ¦ unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
08 50 00 | Window count or area | 0 | EA | 719.25 | 0 | 0 | 0.95 | Exact Match | 0 | A-501, TA-11 | Window types and counts are not clearly legible.
08 10 00 | Door 15 — 15 | 1 | EA | 0 | 0 | 0.92 | 0 | Missing | 0 | X-3 | source=door_schedule_prepass; mark=15; type=15 ¦ Unit cost not found - add to cost_database.json
08 10 00 | Door 10 — 10 | 1 | EA | 0 | 0 | 0.92 | 0 | Missing | 0 | X-3 | source=door_schedule_prepass; mark=10; type=10 ¦ Unit cost not found - add to cost_database.json
08 10 00 | Door 5 — 5 | 1 | EA | 0 | 0 | 0.92 | 0 | Missing | 0 | X-3 | source=door_schedule_prepass; mark=5; type=5 ¦ Unit cost not found - add to cost_database.json
08 71 00 | Door hardware sets | 2.04 | EA | 0 | 0 | 0.8733 | 0 | Missing | 0 | X-2, X-3 | unit mismatch: takeoff=EA, cwicr=100 EA; cost suppressed from total — the CWICR best match is metric / differently-keyed. Add a conversion factor or override unit_cost manually to include this line.
09 29 00 | Drywall area both sides | 2526.72 | SF | 2.99 | 7561.21 | 0.55 | 0.95 | Exact Match | 0.5225 | X-2, TA-11, X-3 | Estimated from drawing scale.
09 30 00 | Installation of 2” x 2” mosaic floor tile in shower areas | 1 | LS | 0 | 0 | 0.7 | 0 | Missing | 0 | ACP-1 | Tile Type 4 specified for shower areas. ¦ Unit cost not found - add to cost_database.json
09 29 00 | Total drywall area both sides | 0 | SF | 2.99 | 0 | 0 | 0.95 | Exact Match | 0 | A-501, X-2 | Drywall areas are not clearly legible.
09 65 19 | Floor finish areas | 0 | SF | 6.72 | 0 | 0 | 0.95 | Exact Match | 0 | A-501, TA-11 | Floor finish areas are not clearly legible.
09 51 13 | Ceiling areas by material | 0 | SF | 5.35 | 0 | 0 | 0.95 | Exact Match | 0 | A-501 | Ceiling areas are not clearly legible.
09 51 13 | Acoustical ceiling system, type 1 | 0 | SF | 5.35 | 0 | 0.5 | 0.95 | Exact Match | 0.475 | TA-4 | Ceiling finish noted as ACP1 in multiple rooms.
09 70 00 | Wall 2 – Room 2 | 11.32 | SF | 0 | 0 | 0.65 | 0 | Missing | 0 | TA-4 | source=finish_schedule_prepass; room=2; surface=wall_ALL; code=2; perimeter approximated from area (sqrt fallback); backfill=ok ¦ Unit cost not found - add to cost_database.json
09 70 00 | Wall 1 – Room 1 | 4 | SF | 0 | 0 | 0.65 | 0 | Missing | 0 | TA-4 | source=finish_schedule_prepass; room=1; surface=wall_ALL; code=1; perimeter approximated from area (sqrt fallback); backfill=ok ¦ Unit cost not found - add to cost_database.json
09 70 00 | Wall 2 – Room 2 | 11.32 | SF | 0 | 0 | 0.65 | 0 | Missing | 0 | TA-4 | source=finish_schedule_prepass; room=2; surface=wall_ALL; code=2; perimeter approximated from area (sqrt fallback); backfill=ok ¦ Unit cost not found - add to cost_database.json
09 70 00 | Wall 1 – Room 1 | 4 | SF | 0 | 0 | 0.65 | 0 | Missing | 0 | TA-4 | source=finish_schedule_prepass; room=1; surface=wall_ALL; code=1; perimeter approximated from area (sqrt fallback); backfill=ok ¦ Unit cost not found - add to cost_database.json
09 22 16 | Interior partition length | 246.24 | LF | 0 | 0 | 0.72 | 0 | Missing | 0 | X-2, TA-11, X-3 | Estimated from drawing scale. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
09 22 16 | Total interior partition length | 0 | LF | 0 | 0 | 0 | 0 | Missing | 0 | A-501, X-2 | Partition lengths are not clearly legible. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
09 91 23 | Painted wall area | 0 | SF | 0 | 0 | 0.809 | 0 | Missing | 0 | A-501, TA-11 | Painted wall areas are not clearly legible. ¦ unit mismatch: takeoff=SF, cwicr=100 SF; cost suppressed from total — the CWICR best match is metric / differently-keyed. Add a conversion factor or override unit_cost manually to include this line.
09 51 13 | Handrail installation | 1.07 | LS | 0 | 0 | 0.9 | 0 | Missing | 0 | A1 | Installation as per instructions. ¦ unit mismatch: takeoff=LS, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
09 51 13 | Ceiling areas | 0 | SF | 0 | 0 | 0.7597 | 0 | Missing | 0 | TA-11 | Ceiling areas not clearly visible. ¦ unit mismatch: takeoff=SF, cwicr=100 SF; cost suppressed from total — the CWICR best match is metric / differently-keyed. Add a conversion factor or override unit_cost manually to include this line.
10 56 17 | Steel shelf support bracket | 1 | EA | 0 | 0 | 0.9 | 0 | Missing | 0 | A-901 | Used in shelving details. ¦ Unit cost not found - add to cost_database.json
10 56 17 | Solid wood shelf | 1 | EA | 0 | 0 | 0.9 | 0 | Missing | 0 | A-901 | Used in shelving details. ¦ Unit cost not found - add to cost_database.json
12 36 00 | Solid surfacing countertop | 1 | LS | 0 | 0 | 0.9 | 0 | Missing | 0 | A-901 | Countertop detail. ¦ Unit cost not found - add to cost_database.json
21 30 00 | Fire pump controller | 1 | EA | 0 | 0 | 1 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p4 | Electric AFFF jockey pump controller ¦ Unit cost not found - add to cost_database.json
21 30 00 | Fire pump installation | 1 | EA | 0 | 0 | 0.8 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p8 | Includes pump and associated control panel. ¦ Unit cost not found - add to cost_database.json
21 30 00 | Fire pump system | 1 | EA | 0 | 0 | 0.8 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p17 | Includes pump, piping, and electrical connections. ¦ Unit cost not found - add to cost_database.json
21 13 00 | Fire pump controller | 1 | EA | 0 | 0 | 0.8 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p4 | Electric AFFF jockey pump controller ¦ unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
21 13 00 | Fire suppression piping | 50 | LF | 0 | 0 | 0.7 | 0 | Missing | 0 | Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p8 | Visible red piping for fire suppression. ¦ unit mismatch: takeoff=LF, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 24 16 | Panel DP-DT — Panelboard | 1 | EA | 2520 | 2520 | 0.65 | 0.95 | Exact Match | 0.6175 | XX-1 | source=panel_schedule_prepass; mark=DP-DT; role=enclosure
26 24 16 | Panel DP — Panelboard | 1 | EA | 2520 | 2520 | 0.65 | 0.95 | Exact Match | 0.6175 | XX-1 | source=panel_schedule_prepass; mark=DP; role=enclosure
26 24 16 | Panel PANEL-TO — Panelboard | 1 | EA | 2520 | 2520 | 0.65 | 0.95 | Exact Match | 0.6175 | A-501 | source=panel_schedule_prepass; mark=PANEL-TO; role=enclosure
26 24 16 | Panel PANEL-TO — Panelboard | 1 | EA | 2520 | 2520 | 0.65 | 0.95 | Exact Match | 0.6175 | A-501 | source=panel_schedule_prepass; mark=PANEL-TO; role=enclosure
26 51 13 | Fixture A — NEL, SELECTABLE LUMNES AND CCT. ADD EL14W FOR EMERGENCY. (COOPER 24ARS-L3C3-UNV (LOW, 4000K)) UNV | 1 | EA | 719.25 | 719.25 | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | source=lighting_schedule_prepass; mark=A; role=fixture; manufacturer=COOPER; catalog=24ARS-L3C3-UNV (LOW, 4000K); voltage=UNV; lamp_type=LED; emergency=true
26 51 13 | Fixture B — IRROR LIGHTING. PROVIDE GUARDS FOR LAMPS. LAMPS PROVIDED BY OTHERS. (TIMES SQUARE LIGHTING 07M-XX-120-XX-1-XX-07MRS) UNV | 1 | EA | 719.25 | 719.25 | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | source=lighting_schedule_prepass; mark=B; role=fixture; manufacturer=TIMES SQUARE LIGHTING; catalog=07M-XX-120-XX-1-XX-07MRS; voltage=UNV; lamp_type=LED
26 51 13 | Fixture D1 — SEMI-SPECULAR 80 CRI. ADD ELR FOR EMERGENCY. (LITHONIA LBR8 ALO1 (500LM) SWW1 (4000K) AR LSS WD 80CRI) UNV | 1 | EA | 719.25 | 719.25 | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | source=lighting_schedule_prepass; mark=D1; role=fixture; manufacturer=LITHONIA; catalog=LBR8 ALO1 (500LM) SWW1 (4000K) AR LSS WD 80CRI; voltage=UNV; lamp_type=LED; emergency=true
26 51 13 | Fixture D2 — SEMI-SPECULAR 80 CRI. ADD ELR FOR EMERGENCY. (LITHONIA LBR8 ALO1 (1000LM) SWW1 (4000K) AR LSS WD 80CRI) UNV | 1 | EA | 719.25 | 719.25 | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | source=lighting_schedule_prepass; mark=D2; role=fixture; manufacturer=LITHONIA; catalog=LBR8 ALO1 (1000LM) SWW1 (4000K) AR LSS WD 80CRI; voltage=UNV; lamp_type=LED; emergency=true
26 51 13 | Fixture S — STANDARD WHITE 12D, CLEAR LENS. (LEDRA BRANDS NU8-RD-SW-10LM-30K-80-12D-CL-XX-XX-UNV) UNV | 1 | EA | 719.25 | 719.25 | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | source=lighting_schedule_prepass; mark=S; role=fixture; manufacturer=LEDRA BRANDS; catalog=NU8-RD-SW-10LM-30K-80-12D-CL-XX-XX-UNV; voltage=UNV; lamp_type=LED
26 51 13 | Fixture X — Interior Lighting Fixture (LITHONIA LQM S W 3 RG MVOLT EL) UNV | 1 | EA | 719.25 | 719.25 | 0.55 | 0.95 | Exact Match | 0.5225 | XX-1 | source=lighting_schedule_prepass; mark=X; role=fixture; manufacturer=LITHONIA; catalog=LQM S W 3 RG MVOLT EL; voltage=UNV; lamp_type=LED
26 51 00 | Salvage and reuse of 2’ x 4’ light fixtures | 1 | LS | 0 | 0 | 0.8 | 0 | Missing | 0 | ACP-1 | Light fixtures to be reused in the Makeup Room space. ¦ unit mismatch: takeoff=LS, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 51 00 | Emergency light fixtures | 3 | EA | 0 | 0 | 0.7544 | 0 | Missing | 0 | D-2 | Added in corridor as per addendum. ¦ unit mismatch: takeoff=EA, cwicr=100 EA; cost suppressed from total — the CWICR best match is metric / differently-keyed. Add a conversion factor or override unit_cost manually to include this line.
260000 | Added receptacle for TV in room 108 | 1 | EA | 0 | 0 | 0.9 | 0 | Missing | 0 | ESBD_516718_1778880917415_26-007 Carr EFA Dressing Room Renovation Drawings Addendum 1.pdf#p3 | unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
260000 | Changed 2x4 fixtures light switch to dimmer light switch in room 108 | 1 | EA | 0 | 0 | 0.8 | 0 | Missing | 0 | ESBD_516718_1778880917415_26-007 Carr EFA Dressing Room Renovation Drawings Addendum 1.pdf#p3 | unit mismatch: takeoff=EA, db=SF; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 19 | Panel DP-DT — Feeder conductor | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | XX-1 | source=panel_schedule_prepass; mark=DP-DT; role=feeder_wire ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 33 | Panel DP-DT — Feeder conduit | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | XX-1 | source=panel_schedule_prepass; mark=DP-DT; role=feeder_conduit ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 19 | Panel DP — Feeder conductor | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | XX-1 | source=panel_schedule_prepass; mark=DP; role=feeder_wire ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 33 | Panel DP — Feeder conduit | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | XX-1 | source=panel_schedule_prepass; mark=DP; role=feeder_conduit ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 19 | Panel DP-E — Feeder conductor | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | A-501 | source=panel_schedule_prepass; mark=DP-E; role=feeder_wire; voltage=277V; phase_count=1 ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 33 | Panel DP-E — Feeder conduit 3/4 inch | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | A-501 | source=panel_schedule_prepass; mark=DP-E; role=feeder_conduit; voltage=277V; phase_count=1; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 19 | Panel PANEL-TO — Feeder conductor | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | A-501 | source=panel_schedule_prepass; mark=PANEL-TO; role=feeder_wire ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 33 | Panel PANEL-TO — Feeder conduit 3/4 inch | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | A-501 | source=panel_schedule_prepass; mark=PANEL-TO; role=feeder_conduit; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 19 | Panel DP-E — Feeder conductor | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | E-600 | source=panel_schedule_prepass; mark=DP-E; role=feeder_wire; voltage=120/208V; phase_count=3 ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 33 | Panel DP-E — Feeder conduit 3/4 inch | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | E-600 | source=panel_schedule_prepass; mark=DP-E; role=feeder_conduit; voltage=120/208V; phase_count=3; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 19 | Panel DP-E — Feeder conductor | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | A-501 | source=panel_schedule_prepass; mark=DP-E; role=feeder_wire; voltage=277V; phase_count=1 ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 33 | Panel DP-E — Feeder conduit 3/4 inch | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | A-501 | source=panel_schedule_prepass; mark=DP-E; role=feeder_conduit; voltage=277V; phase_count=1; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 19 | Panel PANEL-TO — Feeder conductor | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | A-501 | source=panel_schedule_prepass; mark=PANEL-TO; role=feeder_wire ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
26 05 33 | Panel PANEL-TO — Feeder conduit 3/4 inch | 50 | LF | 0 | 0 | 0.55 | 0 | Missing | 0 | A-501 | source=panel_schedule_prepass; mark=PANEL-TO; role=feeder_conduit; feeder_conduit=3/4 inch ¦ unit mismatch: takeoff=LF, db=EA; cost suppressed from total — fix takeoff unit or add a conversion factor to the cost DB
270000 | Added LCD for Makeup Room | 1 | EA | 0 | 0 | 0.9 | 0 | Missing | 0 | ESBD_516718_1778880917415_26-007 Carr EFA Dressing Room Renovation Drawings Addendum 1.pdf#p3 | Unit cost not found - add to cost_database.json

## Rooms
Number | Name | Area (SF) | Perimeter (LF) | Ceiling (FT) | Floor | Base | Walls | Ceiling | Source
| DRESSING ROOM | [7 empty] | X-2
| CORRIDOR | [7 empty] | X-2
1R9 | Women's RR |  |  | 9 |  |  |  | ACP1 | A-501, A-501, TA-4
1R10 | Men's RR |  |  | 9 |  |  |  | ACP1 | A-501, A-501, TA-4
110 | Men's Dressing |  |  | 9 |  |  |  | ACP1 | A-501, A-501, TA-4
| Women's Dressing | [7 empty] | A-1, TA-11
| Green Room | [7 empty] | A-1, X-2, TA-11
| MAKEUP ROOM | [7 empty] | TA-11, X-2
101 | CORRIDOR |  |  | 9 |  |  |  | ACP1 | TA-4
107 | GREEN ROOM |  |  | 9 |  |  |  | ACP1 | TA-4
108 | MAKEUP ROOM |  |  | 9 |  |  |  | ACP1 | TA-4
109 | WOMEN'S DRESSING |  |  | 9 |  |  |  | ACP1 | TA-4

## Doors
Mark | Type | W (in) | H (in) | Rating | Hardware | Notes | Source
FD | [5 empty] | Doors marked for demolition. | X-2
D1 |  | 36 | 84 |  |  | Dimensions inferred from door schedule. | X-3

## Bid Packages
Pkg # | Trade | PDF | Owner | General Contractor | Project | Project # | CSI Divs | CSI Sections | # Inclusions | # Exclusions | # Alternates | # Unit Prices | Refd Drawings | Refd Specs | Summary
| Bid Schedule | Bid_Schedule_San_Marcos_ARC__Rehabilitate_Shop___2_Stall_Garage_Build.pdf |  |  | San Marcos Aquatic Resource Center Shop & 2 Stall Garage Building |  |  |  | 0 | 0 | 0 | 8 |  |  | This bid schedule requests pricing for various construction tasks including the removal and replacement of doors, light fixtures, ceiling grids, gas lines, gutter systems, roofing sheets, and unit heaters at the San Marcos Aquatic Resource Center Shop & 2 Stall Garage Building.
| Bid Schedule | Bid_Schedule_San_Marcos_ARC__Rehabilitate_Shop___2_Stall_Garage_Build.pdf |  |  | San Marcos Aquatic Resource Center Shop & 2 Stall Garage Building |  |  |  | 0 | 0 | 0 | 8 |  |  | This bid schedule requests pricing for various construction tasks including the removal and replacement of doors, light fixtures, ceiling grids, gas lines, gutter systems, roofing sheets, and unit heaters at the San Marcos Aquatic Resource Center Shop & 2 Stall Garage Building.
|  | DDPM262101-Alter CP and NDI-SOW (05032026).pdf | 136th Airlift Wing |  | Alter Command Post and Nondestructive Inspection (NDI) Room | DDPM262101 |  |  | 19 | 0 | 0 | 0 |  | UFGS 01 30 00, UFGS 01 33 00, UFGS 01 33 29, UFGS 01 35 26, UFGS 01 45 00, UFGS 01 45 35, UFGS 01 74 19, UFGS 01 78 00, UFGS 01 78 23 | This document outlines the scope of work for the renovation of the Command Post and Nondestructive Inspection (NDI) Room at the 136th Airlift Wing, Naval Air Station Joint Reserve Base, Fort Worth, TX. The project involves turnkey renovation of designated spaces, ensuring compliance with federal, state, and local codes, and DoD standards. The contractor is responsible for all labor, materials, and services necessary to deliver fully operational facilities.
|  | ESBD_516718_1778880767322_26-007 Carr EFA Dressing Room Renocation RFCSP.pdf | Angelo State University |  | Carr EFA Dressing Room Renovation | 26-007 |  |  | 0 | 0 | 0 | 0 |  |  | The document is a Request for Competitive Sealed Proposals for the Carr EFA Dressing Room Renovation project at Angelo State University. The project involves complete demolition and replacement of interior finishes, mechanical, plumbing, and electrical systems, along with new IT infrastructure and ADA code elements. The bid is due on June 5, 2026.
|  | ESBD_516718_1778880767322_26-007 Carr EFA Dressing Room Renocation RFCSP.pdf | Angelo State University |  | Carr EFA Dressing Room Renovation | 26-007 |  |  | 0 | 0 | 0 | 0 |  |  | The document is a Request for Competitive Sealed Proposals for the Carr EFA Dressing Room Renovation project at Angelo State University. The project involves complete demolition and replacement of interior finishes, mechanical, plumbing, and electrical systems, along with new IT infrastructure and ADA code elements. The bid is due on June 5, 2026.
| FORM OF PROPOSAL | ESBD_516718_1778880829538_26-007 Carr EFA Dressing Room Renocation Attachment A.pdf |  | Angelo State University | Carr EFA Dressing Room Renovation | 26-007 |  | 01030 | 0 | 0 | 0 | 1 |  | 01030 | The bid form requests proposals for construction services for the Carr EFA Dressing Room Renovation project. It includes a base proposal amount and a specified allowance for unforeseen work. The form outlines certifications and affirmations required from the respondent.
| FORM OF PROPOSAL | ESBD_516718_1778880829538_26-007 Carr EFA Dressing Room Renocation Attachment A.pdf |  | Angelo State University | Carr EFA Dressing Room Renovation | 26-007 |  | 01030 | 0 | 0 | 0 | 1 |  | 01030 | The bid form requests proposals for construction services for the Carr EFA Dressing Room Renovation project. It includes a base proposal amount, a specified allowance for unforeseen work, and certifications and affirmations required by Texas law. The form also outlines liquidated damages for late completion and requires HUB contracting commitments.
| HUB Subcontracting Plan | ESBD_516718_1778880887164_Attachment D - HSP (Historically Underutilized Businesses (HUB) Subcontracting Plan) documents.pdf | [6 empty] | 0 | 0 | 0 | 0 |  |  | This document is a HUB Subcontracting Plan (HSP) required by the State of Texas for contracts with probable subcontracting opportunities. It outlines the requirements for respondents to identify and engage Texas certified HUB vendors for subcontracting work, and includes sections for respondent information, subcontracting intentions, and good faith effort methods. The plan aims to promote equal business opportunities for economically disadvantaged persons.
| HUB Subcontracting Plan | ESBD_516718_1778880887164_Attachment D - HSP (Historically Underutilized Businesses (HUB) Subcontracting Plan) documents.pdf | [6 empty] | 0 | 0 | 0 | 0 |  |  | This document is a HUB Subcontracting Plan (HSP) required by the State of Texas for contracts with probable subcontracting opportunities. It outlines the requirements for respondents to identify and engage Texas certified HUB vendors, and includes sections for subcontracting intentions, self-performing justification, and good faith effort methods. The document does not include any priceable line items or alternates.
| Cafeteria Serving Line Renovation | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf | Cleburne Independent School District |  | CHS Serving Line Renovation | 2026-0608-01 |  |  | 6 | 3 | 0 | 0 | MF1_Submittal_Item101_CleburneHighSchool, MF2_Submittal_Item102_CleburneHighSchool, MF3_Submittal_Item103_CleburneHighSchool, MF4_Submittal_Item104_CleburneHighSchool, MF5_Submittal_Item105_CleburneHighSchool, MF6_Submittal_Item106_CleburneHighSchool |  | The document is a trade bid package for the renovation of cafeteria serving lines at Cleburne High School. It includes the removal and disposal of existing equipment, procurement and installation of new equipment, and ensuring the cafeteria is operational by the 2026-2027 school year. The project is managed by Cleburne ISD with a budget of $295,000.
| Cafeteria Serving Line Renovation | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf | Cleburne Independent School District |  | CHS Serving Line Renovation | 2026-0608-01 |  |  | 5 | 3 | 0 | 0 | MF1_Submittal_Item101_CleburneHighSchool, MF2_Submittal_Item102_CleburneHighSchool, MF3_Submittal_Item103_CleburneHighSchool, MF4_Submittal_Item104_CleburneHighSchool, MF5_Submittal_Item105_CleburneHighSchool, MF6_Submittal_Item106_CleburneHighSchool |  | This document is a trade bid package for the renovation of cafeteria serving lines at Cleburne High School. It includes the removal and disposal of existing equipment, procurement and installation of new equipment, and ensuring the cafeteria is operational by the start of the 2026-2027 school year. The project budget is estimated at $295,000.
| Shop & 2 Stall Garage Building Renovation | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf | United States Fish and Wildlife Service |  | San Marcos Aquatic Resource Center Building Renovation 2026 |  |  |  | 8 | 0 | 0 | 0 |  |  | This document outlines the scope of work for the renovation of the Shop & 2 Stall Garage Building at the San Marcos Aquatic Resource Center. The project involves replacing doors, light fixtures, ceiling tiles, and the roof, as well as removing gas lines and heaters. The work is to be conducted at the San Marcos location under the supervision of the U.S. Fish and Wildlife Service.
| Building Renovation | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf | United States Fish and Wildlife Service |  | San Marcos Aquatic Resource Center Shop & 2 Stall Garage Building Renovation 2026 |  |  |  | 8 | 0 | 0 | 0 |  |  | This document outlines the scope of work for the renovation of the San Marcos Aquatic Resource Center's shop and 2 stall garage building. The work includes replacing doors, light fixtures, and roofing, as well as removing gas lines and ceiling tiles. The project is managed by the United States Fish and Wildlife Service.

## Scope Matrix
Pkg # | Trade | Type | Detail | Add/Deduct | Unit | Amount
| Bid Schedule | Unit Price | Remove and replace the three overhead sectional doors to include hardware, weather stripping and openers. |  | EA
| Bid Schedule | Unit Price | Remove and replace existing light fixtures with LED light fixtures to meet OSHA requirements. |  | JOB
| Bid Schedule | Unit Price | Remove all suspended ceiling grids and tiles. |  | JOB
| Bid Schedule | Unit Price | Remove and replace the existing three exterior personnel doors with insulated hollow metal doors to include frames, hardware, weather stripping and threshold. |  | JOB
| Bid Schedule | Unit Price | Terminate, cap and remove existing gas lines from the building. |  | JOB
| Bid Schedule | Unit Price | Remove and replace existing gutter system to include and replace down spouts. |  | LF
| Bid Schedule | Unit Price | Remove and replace existing roof with new roofing sheets. |  | JOB
| Bid Schedule | Unit Price | Remove existing gas fired unit heaters. |  | JOB
| Bid Schedule | Unit Price | Remove and replace the three overhead sectional doors to include hardware, weather stripping and openers. |  | EA
| Bid Schedule | Unit Price | Remove and replace existing light fixtures with LED light fixtures to meet OSHA requirements. |  | JOB
| Bid Schedule | Unit Price | Remove all suspended ceiling grids and tiles. |  | JOB
| Bid Schedule | Unit Price | Remove and replace the existing three exterior personnel doors with insulated hollow metal doors to include frames, hardware, weather stripping and threshold. |  | JOB
| Bid Schedule | Unit Price | Terminate, cap and remove existing gas lines from the building. |  | JOB
| Bid Schedule | Unit Price | Remove and replace existing gutter system to include and replace down spouts. |  | LF
| Bid Schedule | Unit Price | Remove and replace existing roof with new roofing sheets. |  | JOB
| Bid Schedule | Unit Price | Remove existing gas fired unit heaters. |  | JOB
|  | Inclusion | Furnish all labor, materials, equipment, supervision, and services necessary to renovate the designated spaces into complete, durable, and fully operational facilities.
|  | Inclusion | Perform all required interior wall demolition and construction, painting, caulking, carpentry, and associated electrical, mechanical, and plumbing work to deliver the finished spaces.
|  | Inclusion | Ensure all work complies strictly with applicable federal, state, and local codes, as well as all DoD standards, including the Unified Facilities Criteria (UFCs) and Unified Facilities Guide Specifications (UFGSs) cited in any project documentation.
|  | Inclusion | Provide any and all components, services, or materials required to deliver a complete and fully functional system, even if not explicitly specified in this SOW.
|  | Inclusion | Protect all adjacent vehicles, equipment, landscaping, and facilities from overspray, debris, and damage.
|  | Inclusion | Install and maintain a clearly marked construction boundary fence to identify the limits of the work area.
|  | Inclusion | Comply with all applicable Occupational Safety and Health Administration (OSHA), U.S. Army Corps of Engineers EM 385‑1‑1, and State safety requirements.
|  | Inclusion | Maintain a clean job site at all times. Demolition debris and excess materials shall be removed daily.
|  | Inclusion | Coordinate inspections with the Contracting Officer’s Representative (COR) prior to commencing and during critical phases of work.
|  | Inclusion | Request a Pre-Final Inspection at approximately 75% completion to identify deficiencies requiring correction prior to final completion.
|  | Inclusion | Request a Final Acceptance Inspection at 100% completion, submitted at least 14 days in advance with written assurance that all deficiencies have been corrected.
|  | Inclusion | Provide proof of insurance.
|  | Inclusion | Submit electronic submittals on the AF 3000 Material Approval Submittal form for each item listed on the AF 66 Submittal Register, as applicable.
|  | Inclusion | Provide a submittal register, updated at least twice per month.
|  | Inclusion | Provide bi-weekly meeting minutes for each progress meeting, updated schedule by task, planned work for the next week.
|  | Inclusion | Provide a Letter of Guarantee that warrants the project against defects in materials and workmanship for one year from the date of final acceptance.
|  | Inclusion | Provide a minimum one (1) year warranty on all workmanship and standard manufacturer’s warranty on products.
|  | Inclusion | Electrical power and water shall be provided as required. The Contractor is responsible for any required connections.
|  | Inclusion | Obtain and maintain all necessary base access for its personnel, including subcontractors.
| FORM OF PROPOSAL | Unit Price | Include a cash/contingency allowance for unforeseen scope of work. |  | ALLOWANCE | 25000
| FORM OF PROPOSAL | Unit Price | Include a cash/contingency allowance for unforeseen scope of work. |  | ALLOWANCE | 25000
| Cafeteria Serving Line Renovation | Inclusion | Complete removal and disposal of existing serving lines.
| Cafeteria Serving Line Renovation | Inclusion | Procurement and delivery of all new equipment.
| Cafeteria Serving Line Renovation | Inclusion | Installation of the renovated serving line system.
| Cafeteria Serving Line Renovation | Inclusion | Ensure cafeteria is fully operational by the start of the 2026-2027 school year.
| Cafeteria Serving Line Renovation | Inclusion | Comply with all National, State and Local codes and pay all applicable costs, fees and permits.
| Cafeteria Serving Line Renovation | Inclusion | Prices must include all transportation costs.
| Cafeteria Serving Line Renovation | Exclusion | Sales tax
| Cafeteria Serving Line Renovation | Exclusion | Bonds and Taxes
| Cafeteria Serving Line Renovation | Exclusion | Mass excavation
| Cafeteria Serving Line Renovation | Inclusion | The Contractor shall complete the removal and disposal of existing serving lines and installation of new serving lines.
| Cafeteria Serving Line Renovation | Inclusion | The Contractor shall be able to complete all tasks normally encountered in commercial kitchen equipment replacement.
| Cafeteria Serving Line Renovation | Inclusion | The Contractor must comply with all National, State and Local codes and pay all applicable costs, fees and permits.
| Cafeteria Serving Line Renovation | Inclusion | Prices must include all transportation costs.
| Cafeteria Serving Line Renovation | Inclusion | The Contractor shall use all means necessary to protect the work and materials before, during and after installation.
| Cafeteria Serving Line Renovation | Exclusion | Sales tax
| Cafeteria Serving Line Renovation | Exclusion | Bonds and Taxes
| Cafeteria Serving Line Renovation | Exclusion | Mass excavation
| Shop & 2 Stall Garage Building Renovation | Inclusion | Replace the three overhead roll-up style doors to include hardware, weather stripping and manual chain hoists.
| Shop & 2 Stall Garage Building Renovation | Inclusion | Replace current light fixtures with LED light fixtures to meet OSHA requirements.
| Shop & 2 Stall Garage Building Renovation | Inclusion | Remove all suspended ceiling grids and tiles. Approximately 416 square feet.
| Shop & 2 Stall Garage Building Renovation | Inclusion | Replace three (3) exterior personnel doors with insulated hollow metal doors to include frames and hardware.
| Shop & 2 Stall Garage Building Renovation | Inclusion | Terminate, cap and remove existing gas lines from the building.
| Shop & 2 Stall Garage Building Renovation | Inclusion | Remove and replace existing gutter system including down spouts.
| Shop & 2 Stall Garage Building Renovation | Inclusion | Remove and replace existing roof with new 24-gauge roofing panels. Exclude lean-to shed (awning) on the south side of the building.
| Shop & 2 Stall Garage Building Renovation | Inclusion | Remove existing gas fired unit heaters.
| Building Renovation | Inclusion | Replace the three overhead roll-up style doors to include hardware, weather stripping and manual chain hoists.
| Building Renovation | Inclusion | Replace current light fixtures with LED light fixtures to meet OSHA requirements.
| Building Renovation | Inclusion | Remove all suspended ceiling grids and tiles. Approximately 416 square feet.
| Building Renovation | Inclusion | Replace three (3) exterior personnel doors with insulated hollow metal doors to include frames and hardware.
| Building Renovation | Inclusion | Terminate, cap and remove existing gas lines from the building.
| Building Renovation | Inclusion | Remove and replace existing gutter system including down spouts.
| Building Renovation | Inclusion | Remove and replace existing roof with new 24-gauge roofing panels. Exclude lean-to shed (awning) on the south side of the building.
| Building Renovation | Inclusion | Remove existing gas fired unit heaters.

## Supporting Documents
Filename | Source Page | Kind | Effective Date | Wage Decision # | Notes
26-007 RFCSP Carr EFA Dressing Room Renovation (1).pdf |  | other |  |  | This document is a solicitation notice for the Carr EFA Dressing Room Renovation project at Angelo State University. It includes complete demolition and replacement of interior finishes, mechanical, plumbing, electrical systems, and new IT infrastructure.
26-007 RFCSP Carr EFA Dressing Room Renovation (2).pdf |  | other |  |  | This document is a solicitation notice for the Carr EFA Dressing Room Renovation project at Angelo State University. It includes complete demolition and replacement of interior finishes, mechanical, plumbing, electrical systems, and new IT infrastructure.
26-007 RFCSP Carr EFA Dressing Room Renovation.pdf |  | other |  |  | This document is a solicitation notice for the Carr EFA Dressing Room Renovation project at Angelo State University. It includes complete demolition and replacement of interior finishes, mechanical, plumbing, electrical systems, and new IT infrastructure.
B08_Solicitation_-_Att_3_-_DOL_Wage_Determination.pdf |  | wage determination |  |  | [other] This document is a Department of Labor Wage Determination, which outlines the prevailing wage rates for various labor categories in a specific geographic area. It is a standard requirement for federally funded construction projects to ensure compliance with labor laws. The document does not contain specific project details.
B08_Solicitation_-_Att_3_-_DOL_Wage_Determination.pdf |  | wage determination |  |  | [other] This document is a Department of Labor Wage Determination, which outlines the prevailing wage rates for various labor categories in a specific geographic area. It is typically used to ensure compliance with wage standards on federally funded construction projects. The document is largely boilerplate and does not contain specific project details.
CHS Serving Line Renovation.pdf |  | other |  |  | Cleburne Independent School District is accepting competitive sealed proposals for the renovation of cafeteria serving lines at Cleburne High School. Proposals are due by 2:00 PM on June 8, 2026.
DDPM262101_Alter CP and NDI_Plans (20260512).pdf |  | instructions to bidders |  |  | [general instructions to bidders] This document provides detailed construction instructions for alterations involving metal stud framing, gypsum board installation, painting, and flooring to match existing finishes. It includes specifications for installing doors, electrical outlets, lighting, and HVAC modifications. The document also outlines security measures for doors and mantrap areas, as well as requirements for emergency systems and communication infrastructure. Key facts: Project Number: DDPM262001; Install VCT: AZrock, Shale Gray #V-866; Install new carpet: Shaw Contract, Clear Tile Style# 59564, color Moonstone 62500; Paint standard color: Sherwin-Williams SW1016 Silver Screen
ESBD_514190_1778277018836_2025-06813_Notice of Project-CS_26.05.08.pdf |  | HSP form |  |  | Notice of Project for the Harrington Education Center Lab 303 Renovation at Texas A&M University. Includes project details and submission information for the CSP RFP & HSP.
ESBD_514190_1778277018836_2025-06813_Notice of Project-CS_26.05.08.pdf |  | other |  |  | Notice of Project for the renovation of the Harrington Education Center Lab 303 at Texas A&M University. Includes project details and submission information.
ESBD_516718_1778880857161_Attachment B.2 - Sample Construction Services Agreement.pdf |  | sample agreement |  |  | [sample construction services agreement] This document is a sample construction services agreement for projects at Angelo State University. It outlines the scope of work, contract sum, time of commencement and completion, and HUB subcontracting commitments. It also includes provisions for liquidated damages, dispute resolution, indemnity, and various legal and procedural requirements. Key facts: HUB contracting commitment: 30% of the total contract sum; Liquidated damages: $###.00 per calendar day
ESBD_516718_1778880857161_Attachment B.2 - Sample Construction Services Agreement.pdf |  | sample agreement |  |  | [other] This document is a sample construction services agreement for Angelo State University, part of the Texas Tech University System. It outlines the terms and conditions under which a contractor will perform construction work, including scope, contract sum, time of completion, and HUB subcontracting commitments. The agreement also covers liquidated damages, dispute resolution, indemnity, and various legal and procedural provisions.
ESBD_516718_1778880869361_Attachment C - 2010 Uniform General Conditions and Supplementary General Conditions dated (TTUS edited 09.07.2023).pdf |  | wage determination |  |  | [general instructions to bidders] This document outlines the Uniform General Conditions and Supplementary General Conditions for construction contracts under the Texas Tech University System. It incorporates specific supplementary conditions applicable to all Texas Tech System projects, highlighting material changes from the Texas Facilities Commission's 2010 edition. The document includes detailed articles on definitions, wage rates, responsibilities, subcontracting plans, bonds, insurance, safety, quality control, schedules, payments, changes, completion, warranties, termination, and dispute resolution. Key facts: Document revision date: 09/07/2023; Applicable to all Texas Tech System and member institution construction projects
ESBD_516718_1778880869361_Attachment C - 2010 Uniform General Conditions and Supplementary General Conditions dated (TTUS edited 09.07.2023).pdf |  | wage determination |  |  | [general instructions to bidders] This document contains the Texas Tech University System's Uniform General Conditions and Supplementary General Conditions for construction contracts. It outlines the responsibilities of the owner and contractor, wage rates, insurance requirements, construction safety, quality control, and dispute resolution procedures. The document is primarily boilerplate, providing standard terms and conditions applicable to all Texas Tech System construction projects.
ESBD_516718_1778880901623_Attachment E - Tax Exemption Certificate.pdf |  | tax exemption certificate |  |  | [other] This document is a Texas Sales and Use Tax Exemption Certification form. It is used by purchasers to claim exemption from sales and use taxes for certain taxable items. The form includes fields for the purchaser's name, address, and the reason for claiming the exemption. It also contains a disclaimer about the legal implications of misuse.
ESBD_516718_1778880901623_Attachment E - Tax Exemption Certificate.pdf |  | tax exemption certificate |  |  | [other] This document is a Texas Sales and Use Tax Exemption Certification form. It allows a purchaser to claim an exemption from sales and use taxes for certain taxable items. The form includes fields for the purchaser's information and a declaration of the reason for the exemption. It emphasizes the legal implications of misuse and clarifies that no exemption number is required.
ESBD_516718_1778880917414_Attachment F.1 - Tom Green County Prevailing Wage 2023 (TTUS).pdf |  | wage determination |  |  | [other] This document is a prevailing wage determination for a construction project at Angelo State University in Tom Green County. It lists the prevailing wage rates for various trade classifications as of July 2023. Contractors must classify workers according to these rates and ensure they are paid accordingly. Key facts: Construction type: Building; Location: Tom Green County; Date: July 2023
ESBD_516718_1778880917414_Attachment F.1 - Tom Green County Prevailing Wage 2023 (TTUS).pdf |  | wage determination |  |  | [other] This document is a prevailing wage determination for a construction project at Angelo State University in Tom Green County. It lists the prevailing wage rates for various trade classifications as of July 2023. Contractors must ensure workers are classified and paid according to these rates. Key facts: Construction type: Building; Location: Tom Green County; Date: July 2023
ESBD_516718_1779308778671_26-007 Carr EFA Dressing Room Addendum #1.pdf |  | other |  |  | This document is an addendum to the Request for Competitive Sealed Proposals for the Carr EFA Dressing Room Renovation project at Angelo State University. It includes project information, schedule, proposal requirements, and evaluation criteria.
Notice_of_Project_2026-05-08.pdf |  | HSP form |  |  | Notice of Project for the Harrington Education Center Lab 303 Renovation at Texas A&M University. Includes project details and submission information for the CSP RFP & HSP.
SAM_-_Davis-Bacon_Act_WD_TX20260254__Hays_County__Building.pdf |  | wage determination |  |  | [other] This document appears to be related to the Davis-Bacon Act wage determinations for Hays County. It likely contains information on prevailing wage rates for construction projects in the area, as mandated by the Davis-Bacon Act. The document is primarily boilerplate and does not provide specific project details.
SAM_-_Davis-Bacon_Act_WD_TX20260254__Hays_County__Building.pdf |  | wage determination |  |  | [other] This document pertains to the Davis-Bacon Act wage determination for Hays County. It includes information on wage rates for various labor categories as required by federal law for construction projects in the area. The document is likely intended for contractors and subcontractors to ensure compliance with wage standards.
Sol_140FC126R0017.pdf |  | wage determination |  |  | This document is a solicitation for a construction project at the San Marcos Aquatic Resources Center, involving rehabilitation of a shop and garage building. It includes a Davis-Bacon Act Wage Determination and is a 100% Total Small Business Set-Aside.
Sol_140FC126R0017.pdf |  | other |  |  | This document is a solicitation for a Firm Fixed Price contract by the U.S. Fish and Wildlife Service for the rehabilitation of a shop and 2 stall garage building at the San Marcos Aquatic Resources Center. It includes demolition and installation of garage doors, replacement of lighting, ceiling grids/tiles, personnel doors and gutters, and removal and replacement of the existing roof.
Sol_140P6026Q0029.pdf |  | other |  |  | Request for Quote for Cabin Security and Improvements at Padre Island National Seashore in Corpus Christi, Texas. The project involves repair and improvement work on cabins, including roof repairs and installation of security features. The solicitation is issued by the National Park Service and follows simplified acquisition procedures.
Sol_140P6026Q0029.pdf |  | other |  |  | Request for Quote for Cabin Security and Improvements at Padre Island National Seashore in Corpus Christi, Texas. The project involves repair and improvement work on cabins, including roof repairs and installation of security features.
Sol_140P6026Q0029_Amd_0001.pdf |  | other |  |  | [amendment of solicitation] This document is an amendment to a solicitation for cabin security and improvements at Padre Island National Seashore. It includes changes to the site visit date and extends the quote due date. The project involves commercial and institutional building construction with a performance period of 60 days. Key facts: NAICS: 236220; Small Business Size Standard: $45m; Bonding: Payment Bond OR Irrevocable Letter of Credit (100% of the contract value) due within 10 calendar days after award Key dates: Site visit date: 6/4/2026 at 10am CT; Quote due date: 6/18/2026 at 12pm CT; Period of Performance: 60 calendar days from Notice to Proceed
Sol_140P6026Q0029_Amd_0001.pdf |  | other |  |  | [amendment of solicitation] This document is an amendment to a solicitation for the Cabin Security and Improvements project at Padre Island National Seashore. It includes changes to the site visit date and extends the quote due date. The project involves commercial and institutional building construction with a period of performance of 60 days from the Notice to Proceed. Key facts: NAICS: 236220; Small Business Size Standard: $45m; Bonding: Payment Bond or Irrevocable Letter of Credit (100% of contract value) due within 10 calendar days after award Key dates: Site visit date: 6/4/2026 at 10am CT; Quote due date: 6/18/2026 at 12pm CT
Solicitation Amendment W50S7626QA0010001 SF 30.pdf |  | other |  |  | [amendment of solicitation] This document is an amendment to solicitation W50S7626QA001, specifically incorporating revision 1 to the B1672 (CLIN 0001) plans. It includes modifications to contract clauses, particularly regarding contract drawings and specifications. The amendment outlines responsibilities for the contractor in handling and verifying drawings and specifications. Key facts: Project Number: DDPM262101; Location: Fort Worth, TX Key dates: 03 May 2026; 13 May 2026

## Scope Coverage
Aggregated scope coverage
Deduplicated across all bid packages. 'Source packages' shows every bid-package PDF whose inclusion/exclusion list contributed to this line.
Inclusions (36)
# | Inclusion | # Packages | Source Packages
1 | Furnish all labor, materials, equipment, supervision, and services necessary to renovate the designated spaces into complete, durable, and fully operational facilities. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
2 | Perform all required interior wall demolition and construction, painting, caulking, carpentry, and associated electrical, mechanical, and plumbing work to deliver the finished spaces. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
3 | Ensure all work complies strictly with applicable federal, state, and local codes, as well as all DoD standards, including the Unified Facilities Criteria (UFCs) and Unified Facilities Guide Specifications (UFGSs) cited in any project documentation. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
4 | Provide any and all components, services, or materials required to deliver a complete and fully functional system, even if not explicitly specified in this SOW. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
5 | Protect all adjacent vehicles, equipment, landscaping, and facilities from overspray, debris, and damage. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
6 | Install and maintain a clearly marked construction boundary fence to identify the limits of the work area. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
7 | Comply with all applicable Occupational Safety and Health Administration (OSHA), U.S. Army Corps of Engineers EM 385‑1‑1, and State safety requirements. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
8 | Maintain a clean job site at all times. Demolition debris and excess materials shall be removed daily. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
9 | Coordinate inspections with the Contracting Officer’s Representative (COR) prior to commencing and during critical phases of work. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
10 | Request a Pre-Final Inspection at approximately 75% completion to identify deficiencies requiring correction prior to final completion. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
11 | Request a Final Acceptance Inspection at 100% completion, submitted at least 14 days in advance with written assurance that all deficiencies have been corrected. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
12 | Provide proof of insurance. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
13 | Submit electronic submittals on the AF 3000 Material Approval Submittal form for each item listed on the AF 66 Submittal Register, as applicable. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
14 | Provide a submittal register, updated at least twice per month. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
15 | Provide bi-weekly meeting minutes for each progress meeting, updated schedule by task, planned work for the next week. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
16 | Provide a Letter of Guarantee that warrants the project against defects in materials and workmanship for one year from the date of final acceptance. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
17 | Provide a minimum one (1) year warranty on all workmanship and standard manufacturer’s warranty on products. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
18 | Electrical power and water shall be provided as required. The Contractor is responsible for any required connections. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
19 | Obtain and maintain all necessary base access for its personnel, including subcontractors. | 1 | DDPM262101-Alter CP and NDI-SOW (05032026).pdf
20 | Complete removal and disposal of existing serving lines. | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
21 | Procurement and delivery of all new equipment. | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
22 | Installation of the renovated serving line system. | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
23 | Ensure cafeteria is fully operational by the start of the 2026-2027 school year. | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
24 | Comply with all National, State and Local codes and pay all applicable costs, fees and permits. | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
25 | Prices must include all transportation costs. | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
26 | The Contractor shall be able to complete all tasks normally encountered in commercial kitchen equipment replacement. | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
27 | The Contractor shall use all means necessary to protect the work and materials before, during and after installation. | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
28 | Davis-Bacon Act Wage Determination included as Attachment 3. | 1 | Sol_140FC126R0017.pdf
29 | Replace the three overhead roll-up style doors to include hardware, weather stripping and manual chain hoists. | 1 | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf
30 | Replace current light fixtures with LED light fixtures to meet OSHA requirements. | 1 | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf
31 | Remove all suspended ceiling grids and tiles. Approximately 416 square feet. | 1 | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf
32 | Replace three (3) exterior personnel doors with insulated hollow metal doors to include frames and hardware. | 1 | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf
33 | Terminate, cap and remove existing gas lines from the building. | 1 | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf
34 | Remove and replace existing gutter system including down spouts. | 1 | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf
35 | Remove and replace existing roof with new 24-gauge roofing panels. Exclude lean-to shed (awning) on the south side of the building. | 1 | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf
36 | Remove existing gas fired unit heaters. | 1 | SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf
Exclusions (3)
# | Exclusion | # Packages | Source Packages
1 | Sales tax | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
2 | Bonds and Taxes | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf
3 | Mass excavation | 1 | ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf

## Sheets
Sheet | LLM skipped | Prepass conf | Summary
26-007 RFCSP Carr EFA Dressing Room Renovation (1).pdf |  |  | This document is a solicitation notice for the Carr EFA Dressing Room Renovation project at Angelo State University. It includes complete demolition and replacement of interior finishes, mechanical, plumbing, electrical systems, and new IT infrastructure.
26-007 RFCSP Carr EFA Dressing Room Renovation (2).pdf |  |  | This document is a solicitation notice for the Carr EFA Dressing Room Renovation project at Angelo State University. It includes complete demolition and replacement of interior finishes, mechanical, plumbing, electrical systems, and new IT infrastructure.
26-007 RFCSP Carr EFA Dressing Room Renovation.pdf |  |  | This document is a solicitation notice for the Carr EFA Dressing Room Renovation project at Angelo State University. It includes complete demolition and replacement of interior finishes, mechanical, plumbing, electrical systems, and new IT infrastructure.
A-1 |  | 0.35 | This sheet shows the signage plan and graphic standards for the ASU Carr EFA Dressing Room Renovation, including a floor plan with room labels and a signage schedule.
A-501 |  | 0.5 | This sheet shows the first floor lighting plan for the ASU Carr EFA Dressing Room Renovation, including existing and new lighting fixtures, emergency lighting circuits, and occupancy sensors.
A-901 |  | 0.35 | This sheet shows interior elevations and details for casework in a dressing room renovation, including cabinets, countertops, and shelving.
A1 |  | 0.15 | This sheet shows a floor plan for a ramp extension and landings, including details for handrails, beams, and joists.
ACP-1 |  | 0.2 | This sheet is an addendum for the Angelo State University Carr Education & Fine Arts Dressing Room Renovation project. It includes updates to demolition plans, specifically the salvage and reuse of 2’ x 4’ light fixtures and the installation of 8” can lights in the corridor. It also mentions updates to the floor plan with 2” x 2” mosaic floor tiles in shower areas.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p1 |  | 0 | The sheet appears to depict a mechanical room with various equipment, including a fire pump system, piping, and storage containers. The image suggests a focus on mechanical or fire protection systems.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p10 |  | 0 | The sheet appears to show an electrical panel with various relays and wiring, likely related to electrical engineering or control systems.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p11 |  | 0 | The sheet appears to be a detail or specification sheet related to fire protection equipment, possibly a fire control panel or system.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p12 |  | 0 | The sheet appears to show an electrical control panel with various components and wiring, possibly related to a fire alarm or control system.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p13 |  | 0 | The sheet contains an image of a diesel engine fire pump controller, including various gauges and control panels from Firetrol, Inc. It appears to be a detail or equipment specification sheet.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p14 |  | 0 | The sheet appears to depict a diesel engine fire pump controller, including various gauges and control buttons.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p15 |  | 0 | The sheet appears to be related to a fire protection system, possibly showing a control panel with various labels and instructions.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p16 |  | 0 | The sheet appears to show an electrical control panel with various components and wiring, likely related to a fire pump controller system. It includes switches, circuit breakers, and wiring connections.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p17 |  | 0 | The sheet appears to show a mechanical room with a fire pump system, including piping, electrical conduits, and related equipment.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p18 |  | 0 | The sheet appears to depict a mechanical room with fire suppression equipment, including pipes, valves, and a red pressure tank.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p19 |  | 0 | The sheet appears to focus on electrical safety, specifically highlighting an arc flash and shock hazard warning on an electrical panel.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p2 |  | 0 | The sheet appears to depict a mechanical room with fire suppression equipment, including a fire pump and associated piping.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p20 |  | 0 | The sheet appears to show an electrical panel with breakers, likely related to electrical distribution or maintenance.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p21 |  | 0 | The sheet appears to show a storage or loading area with a large box labeled 'Questar HazBox' on a concrete platform. The image suggests a focus on material handling or storage, but lacks specific construction details or measurements.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p22 |  | 0 | The sheet appears to show a storage area with two large boxes on a concrete platform, possibly related to mechanical or storage equipment.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p23 |  | 0 | Extraction failed: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p24 |  | 0 | The sheet appears to depict a mechanical or fire protection system installation, showing various pipes and fittings in a building interior.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p3 |  | 0 | The sheet appears to be an electrical panel schedule or directory, detailing circuit information within an electrical enclosure.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p4 |  | 0 | The drawing focuses on fire protection systems, specifically featuring a pump controller for a fire suppression system.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p5 |  | 0 | Extraction failed: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p6 |  | 0 | The sheet appears to show an electrical control panel with various components and wiring. It includes a warning label and some technical specifications.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p7 |  | 0 | The sheet appears to depict a mechanical room with fire protection equipment, including a fire pump and associated piping and controls.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p8 |  | 0 | The sheet appears to depict a mechanical room with fire protection equipment, including a fire pump and associated piping.
Alter CP and NDI_B1675 NDI Rm Photos REFERENCE ONLY.pdf#p9 |  | 0 | The sheet appears to show a mechanical room with a fire suppression system, including pipes and a pump.
B08_Solicitation_-_Att_3_-_DOL_Wage_Determination.pdf |  |  | [other] This document is a Department of Labor Wage Determination, which outlines the prevailing wage rates for various labor categories in a specific geographic area. It is a standard requirement for federally funded construction projects to ensure compliance with labor laws. The document does not contain specific project details.
Bid_Schedule_San_Marcos_ARC__Rehabilitate_Shop___2_Stall_Garage_Build.pdf |  |  | This bid schedule requests pricing for various construction tasks including the removal and replacement of doors, light fixtures, ceiling grids, gas lines, gutter systems, roofing sheets, and unit heaters at the San Marcos Aquatic Resource Center Shop & 2 Stall Garage Building.
CG-2 |  | 0.35 | Extraction failed: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
CHS Serving Line Renovation.pdf |  |  | Cleburne Independent School District is accepting competitive sealed proposals for the renovation of cafeteria serving lines at Cleburne High School. Proposals are due by 2:00 PM on June 8, 2026.
D-2 |  | 0 | The drawing focuses on electrical updates, including lighting fixtures and emergency options.
DDPM262101-Alter CP and NDI-SOW (05032026).pdf |  |  | This document outlines the scope of work for the renovation of the Command Post and Nondestructive Inspection (NDI) Room at the 136th Airlift Wing, Naval Air Station Joint Reserve Base, Fort Worth, TX. The project involves turnkey renovation of designated spaces, ensuring compliance with federal, state, and local codes, and DoD standards. The contractor is responsible for all labor, materials, and services necessary to deliver fully operational facilities.
DDPM262101_Alter CP and NDI_Plans (20260512).pdf |  |  | [general instructions to bidders] This document provides detailed construction instructions for alterations involving metal stud framing, gypsum board installation, painting, and flooring to match existing finishes. It includes specifications for installing doors, electrical outlets, lighting, and HVAC modifications. The document also outlines security measures for doors and mantrap areas, as well as requirements for emergency systems and communication infrastructure. Key facts: Project Number: DDPM262001; Install VCT: AZrock, Shale Gray #V-866; Install new carpet: Shaw Contract, Clear Tile Style# 59564, color Moonstone 62500; Paint standard color: Sherwin-Williams SW1016 Silver Screen
E-001 |  | 0 | The drawing E-001 is an electrical detail sheet focusing on the electrical symbol legend and lighting schedule.
E-600 |  | 0.5 | Extraction failed: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
ESBD_514190_1778277018836_2025-06813_Notice of Project-CS_26.05.08.pdf |  |  | Notice of Project for the Harrington Education Center Lab 303 Renovation at Texas A&M University. Includes project details and submission information for the CSP RFP & HSP.
ESBD_516718_1778880767322_26-007 Carr EFA Dressing Room Renocation RFCSP.pdf |  |  | The document is a Request for Competitive Sealed Proposals for the Carr EFA Dressing Room Renovation project at Angelo State University. The project involves complete demolition and replacement of interior finishes, mechanical, plumbing, and electrical systems, along with new IT infrastructure and ADA code elements. The bid is due on June 5, 2026.
ESBD_516718_1778880829538_26-007 Carr EFA Dressing Room Renocation Attachment A.pdf |  |  | The bid form requests proposals for construction services for the Carr EFA Dressing Room Renovation project. It includes a base proposal amount and a specified allowance for unforeseen work. The form outlines certifications and affirmations required from the respondent.
ESBD_516718_1778880857161_Attachment B.2 - Sample Construction Services Agreement.pdf |  |  | [sample construction services agreement] This document is a sample construction services agreement for projects at Angelo State University. It outlines the scope of work, contract sum, time of commencement and completion, and HUB subcontracting commitments. It also includes provisions for liquidated damages, dispute resolution, indemnity, and various legal and procedural requirements. Key facts: HUB contracting commitment: 30% of the total contract sum; Liquidated damages: $###.00 per calendar day
ESBD_516718_1778880869361_Attachment C - 2010 Uniform General Conditions and Supplementary General Conditions dated (TTUS edited 09.07.2023).pdf |  |  | [general instructions to bidders] This document outlines the Uniform General Conditions and Supplementary General Conditions for construction contracts under the Texas Tech University System. It incorporates specific supplementary conditions applicable to all Texas Tech System projects, highlighting material changes from the Texas Facilities Commission's 2010 edition. The document includes detailed articles on definitions, wage rates, responsibilities, subcontracting plans, bonds, insurance, safety, quality control, schedules, payments, changes, completion, warranties, termination, and dispute resolution. Key facts: Document revision date: 09/07/2023; Applicable to all Texas Tech System and member institution construction projects
ESBD_516718_1778880887164_Attachment D - HSP (Historically Underutilized Businesses (HUB) Subcontracting Plan) documents.pdf |  |  | This document is a HUB Subcontracting Plan (HSP) required by the State of Texas for contracts with probable subcontracting opportunities. It outlines the requirements for respondents to identify and engage Texas certified HUB vendors for subcontracting work, and includes sections for respondent information, subcontracting intentions, and good faith effort methods. The plan aims to promote equal business opportunities for economically disadvantaged persons.
ESBD_516718_1778880901623_Attachment E - Tax Exemption Certificate.pdf |  |  | [other] This document is a Texas Sales and Use Tax Exemption Certification form. It is used by purchasers to claim exemption from sales and use taxes for certain taxable items. The form includes fields for the purchaser's name, address, and the reason for claiming the exemption. It also contains a disclaimer about the legal implications of misuse.
ESBD_516718_1778880917414_Attachment F.1 - Tom Green County Prevailing Wage 2023 (TTUS).pdf |  |  | [other] This document is a prevailing wage determination for a construction project at Angelo State University in Tom Green County. It lists the prevailing wage rates for various trade classifications as of July 2023. Contractors must classify workers according to these rates and ensure they are paid accordingly. Key facts: Construction type: Building; Location: Tom Green County; Date: July 2023
ESBD_516718_1778880917415_26-007 Carr EFA Dressing Room Renovation Drawings Addendum 1.pdf#p3 |  | 0 | This sheet is an addendum for the ASU Carr EFA Dressing Room Renovation project, detailing changes to electrical and technology plans, including added receptacles, updated fixtures, and new LCD installations.
ESBD_516718_1779308778671_26-007 Carr EFA Dressing Room Addendum #1.pdf |  |  | This document is an addendum to the Request for Competitive Sealed Proposals for the Carr EFA Dressing Room Renovation project at Angelo State University. It includes project information, schedule, proposal requirements, and evaluation criteria.
ESBD_518571_1779300513068_RFCSP 2026-0608-01 CHS Cafeteria Serving Line Renovation.pdf |  |  | The document is a trade bid package for the renovation of cafeteria serving lines at Cleburne High School. It includes the removal and disposal of existing equipment, procurement and installation of new equipment, and ensuring the cafeteria is operational by the 2026-2027 school year. The project is managed by Cleburne ISD with a budget of $295,000.
Notice_of_Project_2026-05-08.pdf |  |  | Notice of Project for the Harrington Education Center Lab 303 Renovation at Texas A&M University. Includes project details and submission information for the CSP RFP & HSP.
Pre-Bid_Attendance.pdf#p1 |  |  | general_notes sheet - no takeoff
Pre-Bid_Attendance.pdf#p2 |  | 0 | This sheet appears to be a contact information list for various individuals and companies involved in a project, likely related to general administration or a meeting.
SAM_-_Davis-Bacon_Act_WD_TX20260254__Hays_County__Building.pdf |  |  | [other] This document appears to be related to the Davis-Bacon Act wage determinations for Hays County. It likely contains information on prevailing wage rates for construction projects in the area, as mandated by the Davis-Bacon Act. The document is primarily boilerplate and does not provide specific project details.
SOW_-_Final_-_San_Marcos_-_02192026_Word_r_1.pdf |  |  | This document outlines the scope of work for the renovation of the Shop & 2 Stall Garage Building at the San Marcos Aquatic Resource Center. The project involves replacing doors, light fixtures, ceiling tiles, and the roof, as well as removing gas lines and heaters. The work is to be conducted at the San Marcos location under the supervision of the U.S. Fish and Wildlife Service.
SWL-2 |  | 0.2 | This sheet is an addendum for the Angelo State University Carr Education & Fine Arts Dressing Room Renovation project, detailing updates to mirrors, wall locations, door pulls, power receptacles, fixtures, and specifications for various components.
Sol_140FC126R0017.pdf |  |  | This document is a solicitation for a construction project at the San Marcos Aquatic Resources Center, involving rehabilitation of a shop and garage building. It includes a Davis-Bacon Act Wage Determination and is a 100% Total Small Business Set-Aside.
Sol_140P6026Q0029.pdf |  |  | Request for Quote for Cabin Security and Improvements at Padre Island National Seashore in Corpus Christi, Texas. The project involves repair and improvement work on cabins, including roof repairs and installation of security features. The solicitation is issued by the National Park Service and follows simplified acquisition procedures.
Sol_140P6026Q0029_Amd_0001.pdf |  |  | [amendment of solicitation] This document is an amendment to a solicitation for cabin security and improvements at Padre Island National Seashore. It includes changes to the site visit date and extends the quote due date. The project involves commercial and institutional building construction with a performance period of 60 days. Key facts: NAICS: 236220; Small Business Size Standard: $45m; Bonding: Payment Bond OR Irrevocable Letter of Credit (100% of the contract value) due within 10 calendar days after award Key dates: Site visit date: 6/4/2026 at 10am CT; Quote due date: 6/18/2026 at 12pm CT; Period of Performance: 60 calendar days from Notice to Proceed
Solicitation Amendment W50S7626QA0010001 SF 30.pdf |  |  | [amendment of solicitation] This document is an amendment to solicitation W50S7626QA001, specifically incorporating revision 1 to the B1672 (CLIN 0001) plans. It includes modifications to contract clauses, particularly regarding contract drawings and specifications. The amendment outlines responsibilities for the contractor in handling and verifying drawings and specifications. Key facts: Project Number: DDPM262101; Location: Fort Worth, TX Key dates: 03 May 2026; 13 May 2026
TA-11 |  | 0.35 | This sheet shows enlarged plans and interior elevations for a dressing room renovation project at ASU Carr EFA. It includes detailed views of various rooms such as makeup rooms, green rooms, and women's dressing rooms, along with a toilet accessory schedule and keynotes.
TA-4 |  | 0.35 | Extraction failed: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
TN-101A |  | 0.5 | This sheet is a technology plan for the first floor, showing the layout of various rooms and corridors, including technology-related symbols and annotations.
X-2 |  | 0.35 | This sheet shows the demolition plan for the 1st level of a building, including the removal of flooring, ceilings, lighting systems, walls, and doors. It includes a legend and general demolition notes.
X-3 |  | 0.35 | This sheet provides detailed architectural drawings for partition, door, and frame types, including wall sections, door details, and partition framing instructions.
XX-1 |  | 0.35 | Extraction failed: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.

## Warnings
# | Warning
1 | Scale is unknown, quantities are assumed as lump sum based on description.
2 | The provided text does not include specific quantities or detailed information about the electrical components.
3 | Scale is unknown; verify dimensions on site.
4 | Some dimensions and areas are not legible; estimates are based on scale.
5 | extractor error: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
6 | extractor error: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
7 | extractor error: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
8 | Many dimensions and specific details are not legible from the drawing.
9 | Scale is unknown, quantities are estimated.
10 | Some dimensions are not legible, estimates are based on context.
11 | The image does not provide specific measurements or quantities for takeoff.
12 | The image does not provide sufficient information for detailed takeoffs.
13 | No scale or dimensions are visible to quantify materials.
14 | The sheet primarily contains notes and details related to electrical circuits, with no quantifiable takeoffs.
15 | Scale unknown, quantities may need verification.
16 | extractor error: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
17 | The image is primarily of an electrical panel, which may not provide sufficient information for detailed takeoffs.
18 | The image does not provide sufficient information for detailed takeoffs.
19 | Quantities are estimated based on visible elements; actual quantities may vary.
20 | The image does not provide enough information for detailed takeoffs.
21 | No scale or specific measurements are visible.
22 | The image is primarily of an electrical panel with no specific quantities or measurements visible.
23 | The image primarily contains text and details related to fire protection equipment, with no specific quantities or takeoffs visible.
24 | The image is primarily of an electrical panel with no clear takeoff information.
25 | The sheet is primarily an image with equipment details, not suitable for quantity takeoffs.
26 | The sheet is primarily an image with limited textual information for detailed takeoffs.
27 | The image primarily contains labels and instructions, with no clear takeoff quantities visible.
28 | The image is primarily of an electrical panel with no clear dimensional or quantity information for takeoffs.
29 | Limited information available; takeoffs are based on visual inspection of the image.
30 | The image does not provide specific measurements or quantities for takeoff.
31 | The sheet lacks detailed annotations or dimensions.
32 | The sheet primarily contains safety warnings and does not provide specific construction quantities or elements for takeoff.
33 | Image content is limited to visual inspection of an electrical panel, no specific takeoffs can be determined.
34 | The sheet contains an image with limited construction details and no measurable elements.
35 | The image does not provide sufficient information for detailed takeoffs.
36 | extractor error: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
37 | The image does not provide sufficient information for detailed takeoffs.
38 | The sheet is primarily text-based and serves as an addendum with no specific quantities or dimensions for takeoff.
39 | The sheet primarily contains notes and updates rather than specific quantities or measurements for takeoff.
40 | Quantities for some items are assumed based on typical installations.
41 | Limited information available for quantity takeoff due to focus on signage standards.
42 | Room areas and dimensions are not legible.
43 | Specific door dimensions and types are not provided.
44 | Room areas and perimeters are not legible.
45 | Door and window details are not visible.
46 | Many dimensions and details are not legible, affecting the accuracy of the takeoff.
47 | Some dimensions and details are not fully legible; estimates are based on typical values.
48 | Scale is unknown, so dimensions are based on direct readings only.
49 | Some details may not be fully legible due to image resolution.
50 | extractor error: LLM did not return JSON. First 400 chars:
51 | extractor error: LLM did not return JSON. First 400 chars: I'm sorry, I can't assist with that.
52 | Quantities and dimensions are not directly visible in the provided image.
53 | The sheet primarily contains layout and annotations with limited quantifiable elements.
54 | The presence of technology symbols like FD, CG, and LCD suggests a focus on technology infrastructure, but specific quantities are not discernible.
55 | Scale is unknown, affecting quantity accuracy.
56 | Some dimensions are not legible, affecting confidence.